## Slide 1
360 SOILSCAN Prep & Maintenance webinar
May 5, 2016

## Slide 2: Getting started: prepping your sensor
Soak in standard solutions at least 1 hour
Download most recent software (v2.0.1)

## Slide 3: Sensor Issue awareness
Sensors unscrewed
Loose sensor bottom

## Slide 4: Sensor issue awareness
Error Message
Extremely high readings

## Slide 5: Sensor issue awareness
Diagnostics page

## Slide 6: Sensor storage
Short-term Storage
Long-term Storage
  nitrate sensor (gray) stores dry
  reference electrode (red) stores wet
  pH sensor (black) stores wet
Store in mild environment (60-80F)
Treat similar to your iPad